| Report ID | Report Date: 19/8/2013 ISO 9001:2008 Sample Code: 1321.130731/309 Pages: 2 |
| --- | --- |
| Client ID | Company: "PHYTOPHYL" N.G.STAVRAKIS Adress: SHIMATARI VIOTIA 32009 -GREECE Tel.: +30 2262 058670 Fax: +30 2262 058735 email: nista@otenet.gr |
| Sample ID | Product: Hydrolyzed protein Sampling: From client Labelling from Client: 'ΕΝΤΟΜΕΛΑ (“ENTOMELA”) 50SL BATCH NUMBER: 5013012 Ημ.Παραγ. (“Production date”) 23/07/2013 Quantity: 1kg Sample condition: good Preservation: Room Temperature Sample Received: 31/7/2013 Dates of Analysis: 9-17/8/2013 |

|  | Test Parameters | Results | RL* | Method |
| --- | --- | --- | --- | --- |
| 1 | Total nitrogen (% w/w) | 8.43 | 0.10 | AOAC 2001.11 |
| - | Protein equivalent (% w/w)(2) | 52.7 | -- | AOAC 2001.11 |
| 2 | Urea nitrogen | 7.97 | 0.10 | AOAC 959.03 (in house) |
| - | Equivalent urea (% w/w) | 17.3 | -- | -- |
| 3 | Nitrogen ammoniacal (% w/w) | 0.42 | 0.2 | EN 15475:2009 (in house) |
| - | Equivalent ammonium salts as NH4Cl (% w/w) | 1.6 | -- | -- |
| 4 | Chlorine salts as NaCl (% w/w) | 1.6 | 0.2 | ISO 457:1983 (in house) |
| 5 | Amino-acids index | 0.9 | -- | Modified AOAC 965.31 |
| 6 | Dry matter | 77.6 | 0.1 | ISO 2920:2004 (in house) |
| 7 | Insoluble in water | 0.19 | 0.05 | CIPAC MT 10.2 (modified) |
| 8 | pH (250C) | 6.70 | -- | CIPAC MT 75.3 |
| 9 | Density 200C (g/100ml) | 1.360 | -- | CIPAC MT 3.3.2 |
| 10 | Appearance | syrupy liquid | -- | Macroscopic examination |
| 11 | Color | Deep reddish- brown | -- | Macroscopic examination |
| 12 | Odor | Characteristic of protein hydrolysis | -- | Sensory evaluation |

*RL: Reporting Limit

Notes:

- Protein equivalent is determined according to the equation: Protein (%w/w) = N (w/w) x 6.25

Certified by

HELLASCHEM

N.Iliopoulos

Chemist Μ.Sc.-Ph.D.c.

Technical Manager

This certificate may not be reproduced, other than in full, except with prior authorization from HELLASCHEM

The results refer only to the samples sent to HELLASCHEM

HELLASCHEM is certified according to ISO 9001:2008 for its laboratory & consultancy services