Evaluation Report

Prepared under Article 12 of Regulation (EC) No 396/2005

[DD Month YYYY]

Analytical validations by the EURLs and capability of official laboratories to be considered for the review of the existing MRLs for [active substance]

[Logo of the institution, if needed]

EU Reference Laboratories for Pesticide Residues

Table of Contents

Background	2

Analytical methods validated by the EU reference laboratories	2

1.	Food of Plant Origin	2

1.1. Commodities with high water and high acid content	2

1.2. dry commodities (see table format and footnotes of 1.1)	4

1.3. commodities with high oil content (see table format and footnotes of 1.1)	4

1.4. Matrices which are difficult to analyse/specific matrices (see table format and footnotes of 1.1)	5

2.	Food of Animal Origin	5

Conclusions	6

Additional Remarks	6

Appendix A:	6

Additional information arisen during the completeness check	6

Background

On DD Month YYYY, EFSA initiated a completeness check period inviting all Member States to provide any additional data on the review of the existing MRLs for [active substance] (EFSA-Q-YYYY-XXX). During this period, the EU Reference Laboratories for Pesticide Residues identified the availability of analytical methods which may be of relevance for the review currently carried out by EFSA.

This report includes an overview of the analytical methods that were validated by the EU Reference Laboratories for controlling food compliance with MRLs established for this active substance.

Analytical methods validated by the EU reference laboratories

# Food of Plant Origin

# 1.1. Commodities with high water and high acid content

Analyte(s):

Other considerations (if relevant):

- Validation data for high water and high acid content commodities (MRM(s))

| Analyte | Pesticide |  |  | Lowest successfully validated level (LSVL) LOQ proposal by EURLs |  |  |  |  | 0.002 mg/kg 0.01 mg/kg |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | Mth | Commodity (ies) | Determ. Techn. | Spiking Level | Mean Recov. (%) |  | RSD (%) | No of replicates | Validation Successful |  |
| EURL-FV | 1 |  | LC-MS/MS | 0.005 | # |  | # | 5 | Yes |  |
| EURL-FV | 1 |  | LC-MS/MS | 0.1 | # |  | # | 5 | Yes |  |
| OfL1 | 2 |  | LC-MS/MS | 0.002 | # |  | # | 5 | Yes |  |
| OfL2 | 3 |  | GC-MS/MS | 0.01 | # |  | # | 5 | Yes |  |
| Method | Description/ Reference |  |  |  |  | Remarks (e.g. use of method) |  |  |  |  |
| 1 | EURL-FV (2014-M15), based on citrate buffered QuEChERS (Modification as regards xxx and xxx). Also published in Analytical methods, (2015) 87, pp. 1018-1025. |  |  |  |  | Unknown percentage of labs using this method |  |  |  |  |
| 2 | EN-15662 (Citrate buffered QuEChERS) |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |  |
| 3 | EN-15662 (Citrate buffered QuEChERS, w/o dSPE) |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |  |

- Validation data for high water and high acid content commodities (SRM(s))

| Analyte | Pesticide |  |  | Lowest successfully validated level (LSVL) LOQ proposal by EURLs |  |  |  |  | 0.005 mg/kg 0.01 mg/kg |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | Mth | Commodity (ies) | Determ. Techn. | Spiking Level | Mean Recov. (%) | RSD (%) |  | No of replicates | Validation Successful |
| EURL-SRM | 1 |  | LC-MS/MS | 0.005 | # | # |  | 5 | Yes |
| EURL-SRM | 1 |  | LC-MS/MS | 0.1 | # | # |  | 5 | Yes |
| OfL1 | 2 |  | LC-MS/MS | 0.01 | # | # |  | 5 | Yes |
| OfL1 | 3 |  | GC-MS/MS | 0.1 | # | # |  | 5 | Yes |
| Method | Description/ Reference |  |  |  |  |  | Remarks (e.g. use of method) |  |  |
| 1 | SRM-M15 involving xxx and xxx Published in: weblink. |  |  |  |  |  | Unknown percentage of labs using this method |  |  |

# 1.2. dry commodities (see table format and footnotes of 1.1)

Analyte(s)Error: Reference source not found:

Other considerations (if relevant):

- Validation data for dry commodities

| Analyte | Pesticide |  |  | Lowest successfully validated level (LSVL) LOQ proposal by EURLs |  |  |  |  | 0.002 mg/kg 0.01 mg/kg |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | Mth | Commodity (ies) | Determ. Techn. | Spiking Level | Mean Recov. (%) | RSD (%) |  | No of replicates | Validation Successful |  |  |
| EURL-CF | 1 |  | LC-MS/MS | 0.002 | # | # |  | 5 | Yes |  |  |
| EURL-CF | 1 |  | LC-MS/MS | 0.1 | # | # |  | 5 | Yes |  |  |
| OfL1 | 2 |  | LC-MS/MS | 0.01 | # | # |  | 5 | Yes |  |  |
| OfL2 | 3 |  | GC-MS/MS | 0.01 | # | # |  | 5 | Yes |  |  |
| Method | Description/ Reference |  |  |  |  |  | Remarks (e.g. use of method) |  |  |  |  |
| 1 | EURL-FV (2014-M15), based on citrate buffered QuEChERS (Modification as regards xxx and xxx). Also published in Analytical methods, (2015) 87, pp. 1018-1025. |  |  |  |  |  | Unknown percentage of labs using this method |  |  |  |  |
| 2 | EN-15662 (Citrate buffered QuEChERS) |  |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |  |
| 3 | EN-15662 (Citrate buffered QuEChERS, w/o dSPE) |  |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |  |

# 1.3. commodities with high oil content (see table format and footnotes of 1.1)

Analyte(s)Error: Reference source not found:

Other considerations (if relevant):

- Validation data for high oil content commodities

| Analyte | Pesticide |  |  |  | Lowest successfully validated level (LSVL) LOQ proposal by EURLs |  |  |  |  | 0.005 mg/kg 0.01 mg/kg |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source |  | Mth | Commodity (ies) | Determ. Techn. | Spiking Level | Mean Recov. (%) | RSD (%) |  | No of replicates | Validation Successful |  |  |
| EURL-xx |  | 1 |  | LC-MS/MS | 0.005 | # | # |  | 5 | Yes |  |  |
| EURL-xx |  | 1 |  | LC-MS/MS | 0.1 | # | # |  | 5 | Yes |  |  |
| OfL1 |  | 2 |  | LC-MS/MS | 0.01 | # | # |  | 5 | Yes |  |  |
| OfL2 |  | 3 |  | GC-MS/MS | 0.01 | # | # |  | 5 | Yes |  |  |
| Method |  | Description/ Reference |  |  |  |  |  | Remarks (e.g. use of method) |  |  |  |  |
| 1 |  | EURL-FV (2014-M15), based on citrate buffered QuEChERS (Modification as regards xxx and xxx). Also published in Analytical methods, (2015) 87, pp. 1018-1025. |  |  |  |  |  | Unknown percentage of labs using this method |  |  |  |  |
| 2 |  | EN-15662 (Citrate buffered QuEChERS) |  |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |  |
| 3 |  | EN-15662 (Citrate buffered QuEChERS, w/o dSPE) |  |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |  |

# 1.4. Matrices which are difficult to analyse/specific matrices (see table format and footnotes of 1.1)

In case validation results exist/are required for the ‘no group’ matrices, a similar table (with multiresidue or single residue analytical results) as for the main matrix groups should be filled in.

# Food of Animal Origin

Follow the same pattern as described for food of plant origin.

Analyte(s)Error: Reference source not found:

Other considerations (if relevant): -

- Validation data for e.g. muscle ,

| Analyte | Pesticide |  |  |  | Lowest successfully validated level (LSVL) LOQ proposal by EURLs |  |  |  |  | xxxx mg/kg xxxx mg/kg |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | Mth |  | Commodities | Determ. Techn. | Spiking Level | Mean Recov. (%) | RSD (%) |  | No of replicates | Screening Validation Successful |  |
| EURL-AO | xxx |  | xxx | xxx | xxx | xxx | xxx |  | xxx | xxx |  |
| Method |  | Description/ Reference |  |  |  |  |  | Remarks (e.g. use of method) |  |  |  |
| 1 |  | EN-15662 (Citrate buffered QuEChERS, without dSPE) |  |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |
| xxx |  | xxx |  |  |  |  |  | xxx |  |  |  |

- Screening validation data for e.g. muscle

| Analyte | Pesticide |  |  |  | Screening detection level (SDL) LOQ proposal by EURLs |  |  |  |  | xxxx mg/kg xxxx mg/kg |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source | Mth |  | Commodities | Determ. Techn. | Spiking Level | Mean Recov. (%) | RSD (%) |  | No of replicates | Screening Validation Successful |  |
| EURL-AO | xxx |  | xxx | xxx | xxx | xxx | xxx |  | xxx | xxx |  |
| Method |  | Description/ Reference |  |  |  |  |  | Remarks (e.g. use of method) |  |  |  |
| 1 |  | EN-15662 (Citrate buffered QuEChERS, without dSPE) |  |  |  |  |  | QuEChERS is used by >60% of OfLs |  |  |  |
| xxx |  | xxx |  |  |  |  |  | xxx |  |  |  |

Conclusions

Please include the main conclusions, mainly the reporting limit achievable in the different matrices in routine analysis, and whether the method is considered successfully validated according to EURLs.

Additional Remarks

Relevant remarks to be included here. Please refer to the availability in the market of the standards used to analyse the active substance and the relevant metabolites for monitoring- and/or enforcement purposes. Issues concerning the specificity of the residue definition (e.g. compound also originates from other sources) may be also addressed here.

Appendix A:

Additional information arisen during the completeness check

Summed LOQ considerations (if relevant) :

In case the residue definition is proposed as xx + yy expressed as xx then a summed LOQ considering the conversion calculates to xx mg/kg

In case the residue definition is proposed as xx + yy + zz expressed as xx then a summed LOQ considering the conversion factors calculates to xx mg/kg

Annex A – Groupings used for the analytical methods

| Commodity - code | Commodity - name | Analytical method - group |
| --- | --- | --- |
| 110010 | Grapefruit | high acid content commodities |
| 110020 | Oranges | high acid content commodities |
| 110030 | Lemons | high acid content commodities |
| 110040 | Limes | high acid content commodities |
| 110050 | Mandarins | high acid content commodities |
| 120010 | Almonds | high oil content commodities |
| 120020 | Brazil nuts | high oil content commodities |
| 120030 | Cashew nuts | high oil content commodities |
| 120040 | Chestnuts | dry commodities |
| 120050 | Coconuts | high oil content commodities |
| 120060 | Hazelnuts | high oil content commodities |
| 120070 | Macadamia | high oil content commodities |
| 120080 | Pecans | high oil content commodities |
| 120090 | Pine nuts | high oil content commodities |
| 120100 | Pistachios | high oil content commodities |
| 120110 | Walnuts | high oil content commodities |
| 130010 | Apples | high water content commodities |
| 130020 | Pears | high water content commodities |
| 130030 | Quinces | high water content commodities |
| 130040 | Medlar | high water content commodities |
| 130050 | Loquat | high water content commodities |
| 140010 | Apricots | high water content commodities |
| 140020 | Cherries | high water content commodities |
| 140030 | Peaches | high water content commodities |
| 140040 | Plums | high water content commodities |
| 151010 | Table grapes | high acid content commodities |
| 151020 | Wine grapes | high acid content commodities |
| 152000 | Strawberries | high acid content commodities |
| 153010 | Blackberries | high acid content commodities |
| 153020 | Dewberries | high acid content commodities |
| 153030 | Raspberries | high acid content commodities |
| 154010 | Blueberries | high acid content commodities |
| 154020 | Cranberries | high acid content commodities |
| 154030 | Currants (red, black and white) | high acid content commodities |
| 154040 | Gooseberries | high acid content commodities |
| 154050 | Rose hips | high acid content commodities |
| 154060 | Mulberries | high acid content commodities |
| 154070 | Azarole (mediteranean medlar) | high acid content commodities |
| 154080 | Elderberries | high acid content commodities |
| 161010 | Dates | high water content commodities |
| 161020 | Figs | high water content commodities |
| 161030 | Table olives | high oil content commodities |
| 161040 | Kumquats | high water content commodities |
| 161050 | Carambola | high acid content commodities |
| 161060 | Persimmon | high water content commodities |
| 161070 | Jambolan (java plum) | high water content commodities |
| 162010 | Kiwi | high acid content commodities |
| 162020 | Lychee (Litchi) | high water content commodities |
| 162030 | Passion fruit | high acid content commodities |
| 162040 | Prickly pear (cactus fruit) | high water content commodities |
| 162050 | Star apple | high water content commodities |
| 162060 | American persimmon (Virginia kaki) | high water content commodities |
| 163010 | Avocados | high oil content commodities |
| 163020 | Bananas | high water content commodities |
| 163030 | Mangoes | high water content commodities |
| 163040 | Papaya | high water content commodities |
| 163050 | Pomegranate | high acid content commodities |
| 163060 | Cherimoya | high water content commodities |
| 163070 | Guava | high water content commodities |
| 163080 | Pineapples | high acid content commodities |
| 163090 | Bread fruit | high water content commodities |
| 163100 | Durian | high water content commodities |
| 163110 | Soursop (guanabana) | high water content commodities |
| 211000 | Potatoes | high water content commodities |
| 212010 | Cassava | high water content commodities |
| 212020 | Sweet potatoes | high water content commodities |
| 212030 | Yams | high water content commodities |
| 212040 | Arrowroot | high water content commodities |
| 213010 | Beetroot | high water content commodities |
| 213020 | Carrots | high water content commodities |
| 213030 | Celeriac | high water content commodities |
| 213040 | Horseradish | high water content commodities |
| 213050 | Jerusalem artichokes | high water content commodities |
| 213060 | Parsnips | high water content commodities |
| 213070 | Parsley root | high water content commodities |
| 213080 | Radishes | high water content commodities |
| 213090 | Salsify | high water content commodities |
| 213100 | Swedes | high water content commodities |
| 213110 | Turnips | high water content commodities |
| 220010 | Garlic | high water content commodities |
| 220020 | Onions | high water content commodities |
| 220030 | Shallots | high water content commodities |
| 220040 | Spring onions | high water content commodities |
| 231010 | Tomatoes | high water content commodities |
| 231020 | Peppers | high water content commodities |
| 231030 | Aubergines (egg plants) | high water content commodities |
| 231040 | Okra, lady’s fingers | high water content commodities |
| 232010 | Cucumbers | high water content commodities |
| 232020 | Gherkins | high water content commodities |
| 232030 | Courgettes | high water content commodities |
| 233010 | Melons | high water content commodities |
| 233020 | Pumpkins | high water content commodities |
| 233030 | Watermelons | high water content commodities |
| 234000 | Sweet corn | high water content commodities |
| 241010 | Broccoli | high water content commodities |
| 241020 | Cauliflower | high water content commodities |
| 242010 | Brussels sprouts | high water content commodities |
| 242020 | Head cabbage | high water content commodities |
| 243010 | Chinese cabbage | high water content commodities |
| 243020 | Kale | high water content commodities |
| 244000 | Kohlrabi | high water content commodities |
| 251010 | Lamb's lettuce | high water content commodities |
| 251020 | Lettuce | high water content commodities |
| 251030 | Scarole (broad-leaf endive) | high water content commodities |
| 251040 | Cress | high water content commodities |
| 251050 | Land cress | high water content commodities |
| 251060 | Rocket, Rucola | high water content commodities |
| 251070 | Red mustard | high water content commodities |
| 251080 | Leaves and sprouts of Brassica spp | high water content commodities |
| 252010 | Spinach | high water content commodities |
| 252020 | Purslane | high water content commodities |
| 252030 | Beet leaves (chard) | high water content commodities |
| 253000 | Vine leaves (grape leaves) | high water content commodities |
| 254000 | Water cress | high water content commodities |
| 255000 | Witloof | high water content commodities |
| 256010 | Chervil | high water content commodities |
| 256020 | Chives | high water content commodities |
| 256030 | Celery leaves | high water content commodities |
| 256040 | Parsley | high water content commodities |
| 256050 | Sage | high water content commodities |
| 256060 | Rosemary | high water content commodities |
| 256070 | Thyme | high water content commodities |
| 256080 | Basil | high water content commodities |
| 256090 | Bay leaves (laurel) | high water content commodities |
| 256100 | Tarragon | high water content commodities |
| 260010 | Beans (fresh, with pods) | high water content commodities |
| 260020 | Beans (fresh, without pods) | high water content commodities |
| 260030 | Peas (fresh, with pods) | high water content commodities |
| 260040 | Peas (fresh, without pods) | high water content commodities |
| 260050 | Lentils (fresh) | high water content commodities |
| 270010 | Asparagus | high water content commodities |
| 270020 | Cardoons | high water content commodities |
| 270030 | Celery | high water content commodities |
| 270040 | Fennel | high water content commodities |
| 270050 | Globe artichokes | high water content commodities |
| 270060 | Leek | high water content commodities |
| 270070 | Rhubarb | high acid content commodities |
| 270080 | Bamboo shoots | high water content commodities |
| 270090 | Palm hearts | high water content commodities |
| 280010 | Cultivated fungi | high water content commodities |
| 280020 | Wild fungi | high water content commodities |
| 290000 | Sea weeds | high water content commodities |
| 300010 | Beans (dry) | dry commodities |
| 300020 | Lentils (dry) | dry commodities |
| 300030 | Peas (dry) | dry commodities |
| 300040 | Lupins (dry) | dry commodities |
| 401010 | Linseed | high oil content commodities |
| 401020 | Peanuts | high oil content commodities |
| 401030 | Poppy seed | high oil content commodities |
| 401040 | Sesame seed | high oil content commodities |
| 401050 | Sunflower seed | high oil content commodities |
| 401060 | Rape seed | high oil content commodities |
| 401070 | Soya bean | high oil content commodities |
| 401080 | Mustard seed | high oil content commodities |
| 401090 | Cotton seed | high oil content commodities |
| 401100 | Pumpkin seeds | high oil content commodities |
| 401110 | Safflower | high oil content commodities |
| 401120 | Borage | high oil content commodities |
| 401130 | Gold of pleasure | high oil content commodities |
| 401140 | Hempseed | high oil content commodities |
| 401150 | Castor bean | high oil content commodities |
| 402010 | Olives for oil production | high oil content commodities |
| 402020 | Palm nuts (palmoil kernels) | high oil content commodities |
| 402030 | Palmfruit | high oil content commodities |
| 402040 | Kapok | high oil content commodities |
| 500010 | Barley grain | dry commodities |
| 500020 | Buckwheat grain | dry commodities |
| 500030 | Maize grain | dry commodities |
| 500040 | Millet grain | dry commodities |
| 500050 | Oats grain | dry commodities |
| 500060 | Rice grain | dry commodities |
| 500070 | Rye grain | dry commodities |
| 500080 | Sorghum grain | dry commodities |
| 500090 | Wheat grain | dry commodities |
| 610000 | Tea (dried leaves and stalks, fermented or otherwise of Camellia sinensis) | no group |
| 620000 | Coffee beans | no group |
| 631000 | Herbal infusions (dried, flowers) | no group |
| 632000 | Herbal infusions (dried, leaves) | no group |
| 633000 | Herbal infusions (dried, roots) | no group |
| 640000 | Cocoa (fermented beans) | no group |
| 650000 | Carob (St Johns bread) | no group |
| 700000 | Hops (dried), including hop pellets and unconcentrated powder | no group |
| 810000 | Spices (seeds) | no group |
| 820000 | Spices (fruits and berries) | no group |
| 830000 | Spices (bark) | no group |
| 840000 | Spices (roots and rhizome) | no group |
| 850000 | Spices (buds) | no group |
| 860000 | Spices (flower stigma) | no group |
| 870000 | Spices (aril) | no group |
| 900010 | Sugar beet (root) | high water content commodities |
| 900020 | Sugar cane | high water content commodities |
| 900030 | Chicory roots | high water content commodities |
| - | Alfalfa forage | high water content commodities |
| - | Barley straw | no group |
| - | Clover forage | high water content commodities |
| - | Fodder beet (root) | high water content commodities |
| - | Fodder beet (tops) | high water content commodities |
| - | Grass | high water content commodities |
| - | Maize forage | high water content commodities |
| - | Oats straw | no group |
| - | Rape forage | high water content commodities |
| - | Rye straw | no group |
| - | Sugar beet (tops) | high water content commodities |
| - | Wheat straw | no group |

Active substance (or different metabolites) for which the method described is valid.

When the same validation data applies to both high water and high acid, they can be merged in one single table as long as it is clearly stated in the title of the table. If not, two different tables should be created.

This is a concentration level, which can be expectedly monitored by a large fraction of OfLs, within the framework of routine controls. Where toxicological risks are reportedly low, the generally accepted default LOQ may be taken into account in this proposal (e.g. 0.01 mg/kg for commodities with high water content).

Successfulness is judged by the EURLs considering the SANCO/825/00 rev.8.1 criteria and/or the criteria stipulated in the SANTE document on “Method Validation and Quality Control Procedures for Pesticide Residues Analysis in Food and Feed” in its latest version

This OfL could be another EURL, for instance EURL-SRM. In that case, please indicate the EURL-XX between brackets.

Please use a different line for validation data coming from different official labs.

When the RD is completely covered by a SRM, validation data should be given separately.

Please use a different table for each single animal commodity for which validation data are available.

Use validation or screening tables according to the nature of data available, i.e. validation data or screening data. If both screening and validation data are available, please make use of both tables.

Once the RD for enforcement has been proposed, it might be relevant to consider summing LOQ.